LRS02-2/12V 12V 2-in-1 Video Data Power Surge Protection Devices

2in1 LRS02-2/12V 12V BNC Video CCTV Surge Protection Devices

CCTV System Video Power Lighting 2 in 1 Surge Protector LRS02-2/12V

Features:

Current : max.10KA

Interface : BNC Female

Remote Controlled distance : No

Power Supply : 12V

Impedance : 75Ω; Wire Length : 25cm/ 9.8"

Material	: Plastic + aluminum alloy

Easy to install, and can be used for protecting signals of the devices controlled by the low voltage; such as various data transmission circuit, monitoring control circuit, Instrument signal circuit, etc.

Avoid the devices from damages of the lightning overvoltage, electostatic discharge,or induced overvoltage.

Design with the signal ground connection terminal block wire to protect the your devices work well.

Packing List:

1 x Surge Protection Device